Laser Ranging Experiment to Space Debris at Shanghai Observatory
Yang Fumin (1), Zhang Zhongping (1), Chen Juping (1),

Chen Wanzhen (1), Wu Zhibo (1), Zhang Haifeng (1), Ivan Prochazka (2)
(1) Shanghai Astronomical Observatory, Chinese Academy of Sciences, China
(2) Czech Technical University in Prague, Czech Republic

yangfm@shao.ac.cn /Fax: +86-21-64696290
Abstract. The laser returns from the space debris were obtained at the Shanghai Observatory in July 2008. These targets were the discarded Soviet and US rockets with the ID 1987-38B and 2007-006G respectively. The return signals from the targets with the range of 900 km were quite strong. The performance of the laser ranging system and the observation results in the experiment are introduced in the paper.
Introduction 

The specification of the experimental laser ranging system for space debris at the Shanghai Observatory was introduced at the Laser Ranging Workshop in Canberra in 2006[1] . The major goal of the system is to develop the key techniques for laser ranging to space debris. After some testing and upgrading, we have obtained some laser returns from the discarded Soviet and US rockets in July 2008 respectively. The preliminary results and analysis are given in the paper.
Performance of the laser ranging system

The high power laser used for the experiment was built by the North China Research Institute of Electro-Optics (NCRIEO) in Beijing. The output of the laser is as follows: 2J in 532 nm, 10ns pulse width, 0.6 mrad divergence, 20Hz repetition rate, 40W mean power in green. Fig. 1 shows the block diagram of the 40W Nd:YAG laser. 
[image: image1.jpg]soter vt 1

e coniin

LHRmiror 2 EQSwith 3 Polarizer

 Compensatar

8 Reflctmirror 9 Frequency doubl:





Figure 1. Diagram of the 40W laser (2J in 532nm, 20Hz)

There are 10 Nd:YAG rods in total in the laser system. The output of the oscillator, which two rods are inside, is divided into two beams, and then go to the amplifier unit 1 and the amplifier unit 2 in turn. The outputs from the amplifier unit 2 pass the frequency doublers, and then combine into one beam for ranging. Fig. 2 shows the photo of the laser head. Fig. 3 shows the inner view of the laser head. Fig. 4 shows the laser firing through the new 210mm aperture transmitter to the sky.


[image: image2] 
[image: image3]
[image: image14.emf]Figure 2. Photo of the laser head           Figure 3. Inner view of the laser head
Figure 4. Laser firing at Shanghai Observatory
The C-SPAD detector and the Riga event timer were used in the experiment. 

The returned signal strength expected from a 2-meter diameter target located 800 km away can be estimated by the following equation:


[image: image4.wmf]a

pq

q

r

lh

´

´

´

´

´

=

r

t

t

r

t

q

K

K

T

R

S

A

E

hc

n

2

4

2

0

)

cos(


Where

    n0:   
Average number of photoelectrons received by detector

    λ:   
Wavelength of laser, 532nm

    ηq: 
Quantum efficiency of the detector, 0.2

    h:  
Planck constant, 6.624×10-34 J·s
    c:    
Light speed, 2.998×108 m/s

    Et:   
Energy of laser pulse, 2J

    Ar:  
Effective area of receive telescope, 0.245m2
    ρ:   
Reflectivity of the target’s surface, 0.16
     r:    
Equivalent radius of the target, 1m

    cos(():
Suppose the targets are spherical, cos(()=1

    (t:   
Divergence of laser beam from telescope, 12 arcsec
    R:   
Range of the targets, 800km

    T:   
Atmospheric transmission, T2=0.6

    Kt:  
Eff. of transmitting optics, 0.60

    Kr:  
Eff. of receiving optics, 0.60

(:   
Attenuation factor, 13dB
We have, 


[image: image5.wmf]20

.

0

0

=

n

 (Photoelectrons)
The probability of detection by the C-SPAD detector with single photon sensitivity can be estimated by 


[image: image6.wmf]18

.

0

1

1

20

.

0

0

=

-

=

-

=

-

-

e

e

P

n


So we might get 18 returns in 5 seconds with the 20 Hz laser.
Preliminary Observational Results from the space debris at Shanghai Observatory
After the installation of the new laser, we built the control and ranging interfaces and software for the experiment. Because of weather problems in Shanghai and some problems with the laser power supply, until July 2008, we had obtained some laser returns from the space debris which were the discarded Soviet and US rockets with the ID 1987-38B (639×611 km) and 2007-006G (541×499 km), respectively. The residuals (O-C) for three passes are shown in Fig. 5-7, and the range variations for each pass are shown in Fig. 8-10. The maximum range obtained in the measurement was 936 km.
Fig. 11 shows the statistics of the laser returns in 5 second bins from the ID 1987-38B on July 7, 2008. It is shown that 10-14 returns in 5 seconds were obtained when the telescope’s tracking was good, and it roughly coincides with the estimation of the returned signal strength.


[image: image7] 
[image: image8]
Figure 5. Returns from the discarded Soviet rocket (ID 1987-38B) on July 7, 2008
Figure 6. Returns from the discarded US rocket (ID 2007-006G) on July 17, 2008

[image: image9]  [image: image10.jpg]Range (Km)

1000
930
400
830
800
750
700

46230

46250

46270

46290

Time (s)

46310

46330





Figure 7. Returns from the discarded US rocket (ID 2007-006G) on July 18, 2008
Figure 8. Ranging data of ID 1987-38B on July 7, 2008
[image: image11.jpg]Range (Km)

71290

71300

71310
Time (s)

71320

T1330

71340




[image: image12.jpg]Range (Km)

900
830
800
a0
00
630

70200

70220

70240
Time (s)

T0260

70280





Figure 9. Ranging data of ID 2007-006G on July 17, 2008 
Figure 10. Ranging data of ID 2007- 006G on July 18, 2008

[image: image13.jpg]708 9 10 1112 13 14 15 16 17
“Time (s-second bin)





Figure 11. Statistics of returns (5-second time interval bin) on July 7, 2008

Summary
The laser returns from the space debris were obtained at the Shanghai Observatory in July 2008. These targets were the discarded Soviet and US rockets with the ID 1987-38B and 2007-006G, respectively. It is shown from the experiment that the return signals from the targets with the range of 900 km were quite strong. Further experiment for more distant and smaller targets is under way.
References

[1] Yang Fumin, Chen Wanzhen, Zhang Zhongping, Chen Juping, Wang Yuanming, K. Hamal, I. Prochazka, The Experimental Laser Ranging System for Space Debris at Shanghai, Proceedings of the 15th International Workshop on Laser Ranging, Volume 2, pp.473—478, Canberra, Australia , 2006. 








































[image: image15.emf][image: image16.wmf][image: image17.png]~ RO SN AR
X T

B[] Tl ol @] sz 7] nlra] o] ] el

FIRAM|: 1403 (1403) DE. D4 . 08-07-07

IRIABIIE. 12:50:41 ZREfE. 12:52:19 TB: (166.2)56.2as RB: 320.9 m TL: 97.6 s



[image: image18.png]Xt TR W

Be] T[e] ol

BRS®|: 521(521) IE. D5 . 08-07-17

IRIABIIE. 19:48:10 ZREf{E. 19:48:54 TB:  (-163.8)-196msi: 339.2 m TL: 44.8 s



[image: image19.png]BE I <@

FIESAB|: 1000(1000) DE.D5 H#. 08-07-18

RHEEE: 19:30:0 £57RBf{E. 19:31:20 TB:  (-48.4)-52asRB: 252.8 m TL: 80.2 s



_1303828440.unknown

_1303846850.unknown

_1303828402.unknown

