Survey of High Geocentric Orbit Space Debris by CNEOT
Zhao Haibin, Ping Yiding

1). Purple Mountain Observatory, Chinese Academy of Sciences, Nanjing 210008.
2). National Astronomical Observatories, Chinese Academy of Sciences, Beijing 100012.

Email: meteorzh@pmo.ac.cn
Abstract

Purple Mountain Observatory's 1.04/1.20 m Schmidt telescope, China Near Earth Object Telescope (CNEOT), is located at Xuyi observational station in Jiangsu Provence. The system is equipped with a CCD with a field of view of 2°×2°, and can detect objects smaller than 10 cm diameter at geosynchronous orbit (GEO). We used the system for an optical survey of space debris at high geocentric orbit (HGO) and GEO, to determine the total population of debris objects to as small a limiting size as possible. Each night the system covers a strip of sky of 90° long ×2° high. Up to 12 independent detections are made of each candidate HGO object in an 8 min time span, yielding measurements of brightness, position, and angular motion. During March 2008, an extensive series of observations of the GEO regime had been carried out with this system, revealing a considerable population of objects.

1 Introduction

Several international space debris campaigns in Higher Earth Orbit have been organized by IADC during the last years. As a member of IADC, CNSA has also been invited to take part in AI23.4. The main goal of the work is to develop the observational techniques of Higher Earth Orbit Space debris for the future. All of the work described here was supported by the Center for Space Object & Debris Research, CAS. This paper summarizes observations and results obtained by the Purple Mountain Observatory in March 2008 of space debris at geosynchronous orbit (GEO) in support of WG1 Action Item 23.4, International 2008 Optical Debris Campaign in Higher Earth Orbit, organized by the Inter-Agency Space Debris Coordination Committee (IADC). The goal of this action item is statistical studies of the debris population both at GEO and in the navigation satellite orbits with mean motions near 2 revs/day.

2 Instrument and Observation

2.1 Location

Chinese Near Earth Object Telescope is mounted at Xuyi station of Purple Mountain Observatory. The site is north of Nanjing by 120 km. Its position is at 118°27′50.0″E, 32°44′03.7″N and sea level is 218.9 m. The survey covering the sky is the northern area from latitude S20°. By historical record, the observing nights from 1995-1999 averaged 214.6 per year and 207.5 per year from 1990-1999. We did observations from Aug 1999 to July 2000 for a whole year, and got 194 astronomical observing nights. In the year, the number of astronomical observing hours was 1652. According to the total of 1493 hours, the seeing record from June to December in 1999, was an average seeing of 0.81″. Fig.1 shows the dome of CNEOT.
[image: image1.jpg]



Fig.1 Dome of the PMO’s CNEOS Telescope at the Xuyi Observatory. 

2.2 Instrument
The telescope is 1.04/1.20/1.80 m Schmidt type with 4K×4K drift scanning CCD camera. A special design allows fitting the whole camera inside the telescope tube, directly in the focal station of the Schmidt optical system. The camera is cooled by CryoTiger PT30, which guarantees the camera working with the CCD chip stable at -110℃, independent of the position of the telescope. The CCD camera has the function of drift scanning, so that the readout rate is clocked to the sidereal drift rate across the CCD. With F=1.8 for the optical system of the Schmidt telescope, the CCD camera delivers a 1.705 arcsec/pixel sampling that corresponds to a FOV about 2°× 2°. Its high quantum efficiency (up to 92% at the peak) and the extremely low dark current guaranteed by the low working temperature (<0.000076e−/pixel/sec at -104℃) with a full capacity of 100,000 electrons, makes this system very valuable on moving objects, when very fast exposures are required to avoid the trailing loss problem. The CCD camera is a Lockheed CCD 486 operated with a multiport readout channel at 700 kHz giving a readout time of 12 seconds. The read noise was about 6 electrons at 100 kHz and 15 electrons at 400 kHz under -100℃. The camera and controller are built by Spectral Instruments Inc. in Tucson. The telescope mechanics is built by Nanjing Astronomical Instrument Co. Ltd and PMO with new and more accurate encoders, better motors and an advanced control system. The telescope is now able to perform open loop tracking (without any guider) for periods of one minute within 1 arcsecond stretching, and to perform CCD guided tracking for periods of 10 minutes within 1 arcsecond stretching. Due to the Schmidt system, the telescope has a large FOV of 3.14°× 3.14°, and the center wavelength of correcting lens is 656.3nm. The configuration of the hardware system is very suitable for our main scientific objective to search for NEO and space debris.

2.3 Observation

The observing techniques to be used are consistent with previous IADC optical campaigns. This will permit comparison of the data obtained in this campaign with data from previous campaigns. Previous IADC GEO campaigns observed a section of sky close to the anti-solar point (but out of eclipse) for maximum reflected brightness.  The next night the telescope is offset by 1.2 degrees in declination (dec), and the observations are repeated at the same right ascension (ra). For the 2008 observing runs, since the Sun is moving North in declination, the anti-solar point is moving south, and so the nightly declination offsets are towards the south to keep as close to the anti-solar point as possible. Table 1 shows the observing fields, which have been observed by PMO, of March 2008 in this campaign. The observing fields of the following months have not been observed because of the bad rain season.

Table 1. Observing fields of March 2008. Change fields at 11h14m local sidereal time.

	UT Date
	RA (Field 1)
	RA (Field 2)
	Declination

	4 Mar
5 Mar

6 Mar

7 Mar

8 Mar

9 Mar

10 Mar
	10h14m
10h14m

10h14m

10h14m

10h14m

10h14m

10h14m
	12h14m
12h14m

12h14m

12h14m

12h14m

12h14m

12h14m
	8.40 deg
7.20 deg

6.00 deg

4.80 deg

3.60 deg

2.40 deg

1.20 deg


The observation mode we chose can be briefed as such several steps:

1). Point the telescope to the specified ra and dec

2). Turn the drive off.

3). Take a single exposure.

4). Reset the telescope to the first ra and dec.

5). Repeat the process for the time period of the observations. 

The faintest objects can be detected if the telescope tracks at the same rate as the object, so that the object is detected as a point source, with most of its flux in the smallest number of pixels, and not as a streak. Stars will appear as streaks in these observations. 

However, not all GEO objects travel at the same rate and, thus, some objects will appear as short streaks. In order to keep streak losses low, the exposure times are kept short (typically a few seconds). 

Each clear night, we take a 5 second exposure about every 40 seconds at a constant right ascension and declination. Typically over 700 images are obtained each night. During the 8 minutes that it takes a GEO object to drift across the field of view, up to 12 independent detections of each source are made. 

Fig.2 shows a representative image from a typical observing sequence. Two active satellites are visible. 

[image: image2.png]



Fig.2 PMO CNEOS Telescope’s example image, which is a 5 second exposure, obtained on the geostationary belt. There are 2 station keeping satellites in the image. The short streaks are remnants of star subtraction.

3 Results and Discussion
In 5 clear nights, we conducted the observations with the CNEOS Telescope. Table 2 gives the overview of these observations. Above 2500 observation detections were identified to be the space debris. The faintest magnitude of these detections was up to about 19. All magnitudes have not been reduced from apparent magnitudes to so-called absolute magnitudes by correcting for the illumination phase angle. 

Table 2. PMO’s Observational result
	Date
	Frames
	Observe Time
	Image Data
	Observed detections

	04/03/2008
05/03/2008

07/03/2008

09/03/2008

10/03/2008
	100
550

550

600

550
	3 hours
6 hours

5hours

5hours

6hours
	3.2GB
17.6GB

17.6GB

19.2GB

17.6GB
	39
830

594

669

534


The CNEOS telescope was not designed for debris observation, many sources do not have adequate independent detections for orbit determination. This problem made the following data analysis work become infeasible. A 90cm telescope designed for debris observation is being developed now. The routine GEO debris survey will be done by this telescope in China, and we will carry out the IADC campaign perfectly. 
4 Acknowledgement

This work was supported by Natural Science Foundation of China (No. 10778637) and the Minor Planetary Foundation of Purple Mountain Observatory. We also would like to acknowledge observer of Near Earth Object Survey team and Center for Space Object and Debris Research.
